{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":9,"n_cols":12,"rows_kept":9,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2023年手提式灭火器产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
["1","手提式干粉灭火器","流通领域","山东莘安消防设备有限公司","91370103MA94A55A9E","山东星辉消防科技有限公司","2023年6月/-","MFZ/ABC8","图文商标","不合格","灭火剂和驱动气体（干粉灭火剂）","山东省产品质量检验研究院"]
["2","手提式干粉灭火器","流通领域","章丘市鸿安消防器材经营部","92370181MA3DGFNC7F","山东梁王消防科技有限公司","2023年05月/-","MFZ/ABC8","荣舜","不合格","20℃温度喷射性能试验、爆破试验、灭火剂和驱动气体（干粉灭火剂）","山东省产品质量检验研究院"]
["3","手提式干粉灭火器","流通领域","章丘市鸿安消防器材经营部","92370181MA3DGFNC7F","山东川跃消防科技有限公司","2023年5月/-","MFZ/ABC4","川跃","不合格","灭火剂和驱动气体（干粉灭火剂）","山东省产品质量检验研究院"]
["4","手提式干粉灭火器","流通领域","章丘市汇海源商贸有限公司","91370181306882923T","山东亿嘉消防器材有限公司","2023-06/-","MFZ/ABC4","晨凡","不合格","质量、爆破试验、灭火剂和驱动气体（干粉灭火剂）","山东省产品质量检验研究院"]
["5","手提式干粉灭火器","流通领域","章丘市汇海源商贸有限公司","91370181306882923T","山东梁王消防科技有限公司","2023-06/-","MFZ/ABC1","荣舜","不合格","灭火剂和驱动气体（干粉灭火剂）","山东省产品质量检验研究院"]
["6","手提式干粉灭火器","流通领域","山东金伟利管道科技有限公司","91370112MA3PEHWL3B","锦阳消防科技有限公司","2023.08/-","MFZ/ABC5","锦阳","不合格","灭火剂和驱动气体（干粉灭火剂）","山东省产品质量检验研究院"]