{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":235,"n_cols":12,"rows_kept":235,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件2"]
["2023年电线电缆产品质量市级监督抽查合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","承检单位","备注"]
["1","聚氯乙烯绝缘无护套电线电缆","流通领域","高新开发区宽大五金百货店","92370100MA3NPW7R29","绿灯行电缆集团有限公司","202303/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["2","聚氯乙烯绝缘无护套电线电缆","流通领域","高新开发区宽大五金百货店","92370100MA3NPW7R29","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["3","聚氯乙烯绝缘无护套电线电缆","流通领域","高新开发区宽大五金百货店","92370100MA3NPW7R29","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["4","聚氯乙烯绝缘电缆","流通领域","高新开发区三红五金店","92370100MA3NU72M9M","阳谷兴宇线缆有限公司","20230312/-","ZR-BV 2.5mm² 450/750V","兴宇","合格","济南市产品质量检验院",""]
["5","一般用途单芯硬导体无护套电缆","流通领域","高新开发区三红五金店","92370100MA3NU72M9M","山东阳谷恒昌电缆集团有限公司","20230525/-","60227 IEC 01(BV) 2.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["6","聚氯乙烯绝缘无护套电线电缆","流通领域","高新开发区舜华皓睿五金商行","92370100MA3LDP676N","阳谷阿城华星线缆厂","20230825/-","ZR-BV 2.5mm² 450/750V","胜华星","合格","济南市产品质量检验院",""]
["7","聚氯乙烯绝缘无护套电线电缆","流通领域","高新开发区舜华皓睿五金商行","92370100MA3LDP676N","阳谷阿城华星线缆厂","20230828/-","ZR-BV 2.5mm² 450/750V","胜华星","合格","济南市产品质量检验院",""]
["8","聚氯乙烯绝缘电线","流通领域","高新开发区舜华皓睿五金商行","92370100MA3LDP676N","齐鲁电缆有限公司","2020.4.12/-","60227 IEC 01(BV) 4mm² 450/750V","/","合格","济南市产品质量检验院",""]
["9","聚氯乙烯绝缘电缆","流通领域","高新开发区舜华鑫金双喜五金经营部","92370100MA3EMAQ40P","山东阳谷电缆电线厂","20180322/-","ZR-BV 4mm² 450/750V","美凯龙","合格","济南市产品质量检验院",""]
["10","聚氯乙烯绝缘电线","流通领域","高新开发区鑫亿五金店","92370100MA3NG3FE96","阳谷良宝电缆有限公司","20230901/-","ZR-BV 2.5mm² 450/750V","良宝","合格","济南市产品质量检验院",""]
["11","辐照交联聚烯烃绝缘无卤低烟阻燃电缆电线","流通领域","高新开发区鑫亿五金店","92370100MA3NG3FE96","江苏上上电缆集团有限公司","201907/-","WDZC-BYJ 2.5mm² 450/750V","上上","合格","济南市产品质量检验院",""]
["12","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","高新开发区鑫亿五金店","92370100MA3NG3FE96","绿灯行电缆集团有限公司","202209/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["13","聚氯乙烯绝缘电线电缆","流通领域","高玉芳","92370181MA3LATNW3N","阳谷正辉特种电缆有限公司","202306/-","ZR-BV 2.5mm² 450/750V","炵辉（图形商标）","合格","济南市产品质量检验院",""]
["14","聚氯乙烯绝缘阻燃电线电缆","流通领域","高玉芳","92370181MA3LATNW3N","大名县绿灯行电线电缆有限公司","2021.7.13/-","ZR-BV 2.5mm² 450/750V","LDXJT(图形商标）","合格","济南市产品质量检验院",""]
["15","聚氯乙烯绝缘电线电缆","流通领域","高玉芳","92370181MA3LATNW3N","阳谷正辉特种电缆有限公司","202306/-","ZR-BV 6mm² 450/750V","炵辉（图形商标）","合格","济南市产品质量检验院",""]
["16","聚氯乙烯绝缘无护套电线电缆","流通领域","济南高新区恒阳五金店","92370100MA7D3U3J41","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["17","电线电缆","流通领域","济南高新区恒阳五金店","92370100MA7D3U3J41","文安县永安电线厂","20230723/-","60227 IEC 01(BV) 4mm² 450/750V","明湖","合格","济南市产品质量检验院",""]
["18","聚氯乙烯绝缘无护套电线电缆","流通领域","济南高新区恒阳五金店","92370100MA7D3U3J41","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["19","聚氯乙烯绝缘无护套电线电缆","流通领域","济南高新区进彪五金百货店","92370100MA7DE6G14N","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["20","聚氯乙烯绝缘电缆","流通领域","济南高新区进彪五金百货店","92370100MA7DE6G14N","济南明湖照明电器有限公司","20220827/-","60227 IEC 01(BV) 1.5mm² 450/750V","明湖","合格","济南市产品质量检验院",""]
["21","聚氯乙烯绝缘电缆","流通领域","济南高新区进彪五金百货店","92370100MA7DE6G14N","济南明湖照明电器有限公司","20230705/-","60227 IEC 01(BV) 2.5mm² 450/750V","明湖","合格","济南市产品质量检验院",""]
["22","聚氯乙烯绝缘无护套电线电缆","流通领域","济南槐荫宏通五金销售部","92370104MA3D6BC2XM","山东绿灯行电线电缆有限公司","202303/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["23","聚氯乙烯绝缘无护套电线电缆","流通领域","济南槐荫宏通五金销售部","92370104MA3D6BC2XM","山东绿灯行电线电缆有限公司","202108/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["24","聚氯乙烯无护套电线电缆","流通领域","济南槐荫宏通五金销售部","92370104MA3D6BC2XM","阳谷阿城华星线缆厂","20220425/-","ZR-BV 2.5mm² 450-750V","中凌","合格","济南市产品质量检验院",""]
["25","聚氯乙烯绝缘无护套电线电缆","流通领域","济南槐荫明光电缆经销处","92370104MA3LCH556M","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["26","聚氯乙烯绝缘无护套电线电缆","流通领域","济南槐荫明光电缆经销处","92370104MA3LCH556M","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["27","聚氯乙烯绝缘无护套电线电缆","流通领域","济南槐荫明光电缆经销处","92370104MA3LCH556M","山东共辉电缆有限公司","202205/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["28","一般用途单芯硬导体无护套电缆","流通领域","济南槐荫卫民五金经营部","92370104MA3LCYUG1C","上海德力西集团有限公司","20190829/-","（黄绿）60227 IEC 01(BV) 1.5mm² 450/750V","德力西","合格","济南市产品质量检验院",""]
["29","一般用途单芯硬导体无护套电缆","流通领域","济南槐荫卫民五金经营部","92370104MA3LCYUG1C","上海德力西集团有限公司","20190726/-","（黄）60227 IEC 01(BV) 1.5mm² 450/750V","德力西","合格","济南市产品质量检验院",""]
["30","聚氯乙烯绝缘无护套电线电线","流通领域","济南槐荫卫民五金经营部","92370104MA3LCYUG1C","山东绿灯行电缆有限公司","2020.11/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["31","聚氯乙烯绝缘无护套电缆电线","流通领域","济南金航线经贸有限公司","91370112684699894W","阳谷阿城华星线缆厂","20230203/-","ZR-BV 2.5mm² 450/750V","鑫祥辉","合格","济南市产品质量检验院",""]
["32","聚氯乙烯绝缘无护套电线电缆","流通领域","济南金航线经贸有限公司","91370112684699894W","绿灯行电缆集团有限公司","202302/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["33","聚氯乙烯绝缘无护套电线电缆","流通领域","济南金航线经贸有限公司","91370112684699894W","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["34","铜芯聚氯乙烯绝缘电线","流通领域","济南金耀华电器有限公司","91370104771029776R","泰安国山线缆有限公司","20210815/-","ZR-BV 2.5mm² 450-750V","/","合格","济南市产品质量检验院",""]
["35","铜芯聚氯乙烯绝缘电线","流通领域","济南金耀华电器有限公司","91370104771029776R","泰安国山线缆有限公司","20210815/-","ZR-BV 4mm² 450-750V","/","合格","济南市产品质量检验院",""]
["36","聚氯乙烯绝缘无护套电线电缆","流通领域","济南金耀华电器有限公司","91370104771029776R","泰安国山线缆有限公司","20191202/-","BV 1.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["37","铜芯聚氯乙烯绝缘线","流通领域","济南金耀华电器有限公司","91370104771029776R","泰安国山线缆有限公司","20230218/-","ZR-BV 2.5mm² 450-750V","/","合格","济南市产品质量检验院",""]
["38","聚氯乙烯绝缘无护套电线电缆","流通领域","济南晶通科经贸有限公司","91370112MA3RAM538R","山东绿灯行电线电缆有限公司","202303/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["39","聚氯乙烯绝缘无护套电线电缆","流通领域","济南晶通科经贸有限公司","91370112MA3RAM538R","绿灯行电缆集团有限公司","202212/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["40","聚氯乙烯绝缘电线","流通领域","济南晶通科经贸有限公司","91370112MA3RAM538R","阳谷阿城华星线缆厂","20230615/-","ZR-BV 1.5mm² 450/750V","胜华星","合格","济南市产品质量检验院",""]
["41","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下安浩五金经营部","92370102MA3LHY437Q","绿灯行电缆集团有限公司","202303/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["42","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下安浩五金经营部","92370102MA3LHY437Q","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["43","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下安浩五金经营部","92370102MA3LHY437Q","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["44","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下三晓建材经营部","92370102MA3LBAEAXX","绿灯行电缆集团有限公司","2023.05/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["45","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下三晓建材经营部","92370102MA3LBAEAXX","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["46","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下三晓建材经营部","92370102MA3LBAEAXX","绿灯行电缆集团有限公司","2023.06/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["47","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下新立灯具店","92370102MA3L8CQP8A","绿灯行电缆集团有限公司","2022.09/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["48","聚氯乙烯绝缘无护套电缆电线","流通领域","济南历下新立灯具店","92370102MA3L8CQP8A","山东绿灯行电缆有限公司","2020.09/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["49","聚氯乙烯绝缘无护套电缆电线","流通领域","济南历下新立灯具店","92370102MA3L8CQP8A","绿灯行电缆集团有限公司","2020.04/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["50","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南历下以便以谢五金建材商店","92370102MA3LG7K64R","绿灯行电缆集团有限公司","202305/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["51","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下以便以谢五金建材商店","92370102MA3LG7K64R","绿灯行电缆集团有限公司","202303/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["52","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下以便以谢五金建材商店","92370102MA3LG7K64R","绿灯行电缆集团有限公司","202302/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["53","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下鑫森灯具电料商店","92370102MA3LF7TW90","绿灯行电缆集团有限公司","2022.11/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["54","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下鑫森灯具电料商店","92370102MA3LF7TW90","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["55","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下鑫森灯具电料商店","92370102MA3LF7TW90","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["56","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下鑫森灯具电料商店","92370102MA3LF7TW90","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["57","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下鑫众邦五金销售部","92370102MA3LCNKG8X","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["58","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下鑫众邦五金销售部","92370102MA3LCNKG8X","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["59","聚氯乙烯绝缘无护套电线电缆","流通领域","济南历下鑫众邦五金销售部","92370102MA3LCNKG8X","绿灯行电缆集团有限公司","202112/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["60","阻燃聚氯乙烯绝缘无护套电缆","流通领域","济南日辉建华电缆有限公司","91370105MA3MEABP0Q","山东阳谷东方电缆有限公司","20230208/-","ZR-BV 2.5mm² 450/750V","跃辉","合格","济南市产品质量检验院",""]
["61","环保耐热105℃无卤低烟电线","流通领域","济南日辉建华电缆有限公司","91370105MA3MEABP0Q","山东阳谷东方电缆有限公司","20230508/-","WDZCH-BYJ-105       1.5mm² 450/750V","跃辉","合格","济南市产品质量检验院",""]
["62","聚氯乙烯绝缘无护套电线","流通领域","济南日辉建华电缆有限公司","91370105MA3MEABP0Q","山东阳谷东方电缆有限公司","20230701/-","60227 IEC 01(BV) 4mm² 450/750V","跃辉","合格","济南市产品质量检验院",""]
["63","铜芯聚氯乙烯阻燃绝缘电缆","流通领域","济南若庭建材有限公司","91370103MA3D5TNX7F","广东华缆电线电缆有限公司","20230217/-","ZR-BV 1.5mm² 450/750V","金宏","合格","济南市产品质量检验院",""]
["64","聚氯乙烯绝缘无护套电线电缆","流通领域","济南若庭建材有限公司","91370103MA3D5TNX7F","阳谷阿城华星线缆厂","20230520/-","ZR-BV 4mm² 450/750V","鑫祥辉","合格","济南市产品质量检验院",""]
["65","聚氯乙烯绝缘电线","流通领域","济南若庭建材有限公司","91370103MA3D5TNX7F","阳谷阿城华星线缆厂","202306/-","ZR-BV 2.5mm² 450/750V","胜华星","合格","济南市产品质量检验院",""]
["66","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区华强五金店","92370113MA3D9P538W","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["67","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区华强五金店","92370113MA3D9P538W","绿灯行电缆集团有限公司","2023.05/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["68","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区绿洲五金总汇","92370113MA3LAG966P","绿灯行电缆集团有限公司","2023.05/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["69","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区绿洲五金总汇","92370113MA3LAG966P","绿灯行电缆集团有限公司","2023.05/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["70","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区绿洲五金总汇","92370113MA3LAG966P","绿灯行电缆集团有限公司","2023.05/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["71","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市长清区三湘五金电动工具商行","92370113MA3LD61H4E","绿灯行电缆集团有限公司","202308/-","ZC-BV 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["72","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市长清区三湘五金电动工具商行","92370113MA3LD61H4E","绿灯行电缆集团有限公司","202308/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["73","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区三湘五金电动工具商行","92370113MA3LD61H4E","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["74","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区源东五交化商行","92370113MA3FE95259","山东绿灯行电缆有限公司","202101/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["75","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市长清区源东五交化商行","92370113MA3FE95259","绿灯行电缆集团有限公司","202308/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["76","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市长清区源东五交化商行","92370113MA3FE95259","绿灯行电缆集团有限公司","202303/-","ZC-BV 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["77","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市长清区琪正五交化商行","92370113MA3DDG4Q76","绿灯行电缆集团有限公司","2022.09/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["78","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市钢城区鑫源五金商店","92371203MA3FJNYQ1G","山东远通线缆有限公司","20230513/-","60227 IEC 01(BV) 2.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["79","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市钢城区鑫源五金商店","92371203MA3FJNYQ1G","山东远通线缆有限公司","20230924/-","60227 IEC 01(BV) 4mm² 450/750V","/","合格","济南市产品质量检验院",""]
["80","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市钢城区鑫源五金商店","92371203MA3FJNYQ1G","山东远通线缆有限公司","20230823/-","60227 IEC 01(BV) 2.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["81","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市槐荫区金辉塑料制品销售处","92370104MA3LBTDJ93","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["82","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市槐荫区金辉塑料制品销售处","92370104MA3LBTDJ93","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 6mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["83","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市槐荫区金辉塑料制品销售处","92370104MA3LBTDJ93","绿灯行电缆集团有限公司","202207/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["84","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市莱芜区李宁五金电器经营部","92370116MA3T2DDE2H","阳谷龙兴线缆有限公司","2023.4/-","ZR-BV 1.5mm² 450-750V","畅泰","合格","济南市产品质量检验院",""]
["85","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市莱芜区李宁五金电器经营部","92370116MA3T2DDE2H","嘉星线缆有限公司","202210/-","（红）ZR-BV 1.5mm² 450-750V","畅泰","合格","济南市产品质量检验院",""]
["86","聚氯乙烯绝缘阻燃无护套电线电缆","流通领域","济南市莱芜区泰华电线电缆经营部","92370116MA3PU2Q50T","国友线缆集团（济南）有限公司","20230925/-","ZC-BV 1.5mm² 450/750V","国友","合格","济南市产品质量检验院",""]
["87","聚氯乙烯绝缘阻燃无护套电线电缆","流通领域","济南市莱芜区泰华电线电缆经营部","92370116MA3PU2Q50T","国友线缆集团（济南）有限公司","20231011/-","ZC-BV 2.5mm² 450/750V","国友","合格","济南市产品质量检验院",""]
["88","一般用途单芯硬导体无护套阻燃B类电缆","流通领域","济南市莱芜区泰华电线电缆经营部","92370116MA3PU2Q50T","广东金科电缆实业有限公司","20230706/-","ZB-BV 1.5mm² 450/750V","金科","合格","济南市产品质量检验院",""]
["89","一般用途单芯硬导体无护套阻燃B类电缆","流通领域","济南市莱芜区泰华电线电缆经营部","92370116MA3PU2Q50T","广东金科电缆实业有限公司","20230728/-","ZB-BV 2.5mm² 450/750V","金科","合格","济南市产品质量检验院",""]
["90","一般用途单芯硬导体无护套电缆","流通领域","济南市莱芜区同丰电工器材经营部","92371202MA3FHUWW6N","海悦电缆制造有限公司","20230903/-","60227 IEC 01(BV) 1.5mm² 450/750V","海悦","合格","济南市产品质量检验院",""]
["91","一般用途单芯硬导体无护套阻燃电缆","流通领域","济南市莱芜区同丰电工器材经营部","92371202MA3FHUWW6N","海悦电缆制造有限公司","20220912/-","ZC-BV 6mm² 450/750V","海悦","合格","济南市产品质量检验院",""]
["92","一般用途单芯硬导体无护套电缆","流通领域","济南市莱芜区同丰电工器材经营部","92371202MA3FHUWW6N","海悦电缆制造有限公司","20230821/-","60227 IEC 01(BV) 4mm² 450/750V","海悦","合格","济南市产品质量检验院",""]
["93","一般用途单芯硬导体无护套电缆","流通领域","济南市莱芜区希春建材销售中心","92371202MA3FK0D32P","江苏闪奇电器股份有限公司","20230615/-","60227 IEC 01(BV) 1×2.5mm² 450/750V（黄/绿）","闪奇","合格","济南市产品质量检验院",""]
["94","一般用途单芯硬导体无护套电缆","流通领域","济南市莱芜区希春建材销售中心","92371202MA3FK0D32P","江苏闪奇电器股份有限公司","20230420/-","60227 IEC 01(BV) 1×2.5mm² 450/750V（蓝）","闪奇","合格","济南市产品质量检验院",""]
["95","一般用途单芯硬导体无护套电缆","流通领域","济南市莱芜区希春建材销售中心","92371202MA3FK0D32P","江苏闪奇电器股份有限公司","20230314/-","60227 IEC 01(BV) 1×2.5mm² 450/750V（黄）","闪奇","合格","济南市产品质量检验院",""]
["96","聚氯乙烯绝缘无护套电缆电线","流通领域","济南市莱芜区晓华五金经营部","92371202MA3FHQ1H59","阳谷县狮子楼办事处同辉电缆厂","20210829/-","ZR-BV 2.5mm² 450/750V","赢辉","合格","济南市产品质量检验院",""]
["97","聚氯乙烯绝缘无护套电缆电线","流通领域","济南市莱芜区晓华五金经营部","92371202MA3FHQ1H59","阳谷县狮子楼办事处同辉电缆厂","20190727/-","60227 IEC 01(BV) 4mm² 450/750V","赢辉","合格","济南市产品质量检验院",""]
["98","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市历城区学明五金店","92370128MA3LCE988Q","绿灯行电缆集团有限公司","202305/-","ZC-BV 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["99","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市历城区学明五金店","92370128MA3LCE988Q","绿灯行电缆集团有限公司","2023.5/-","ZC-BV 6mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["100","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市历城区学明五金店","92370128MA3LCE988Q","绿灯行电缆集团有限公司","202305/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["101","普通聚氯乙烯护套软线","流通领域","济南市天桥区鼎信五金经营部","92370105MA3P3FNB9P","山东阳谷中信电缆有限公司","20230727/-","60227 IEC 53(RVV)     2×1mm² 300/500V","龙信","合格","济南市产品质量检验院",""]
["102","电力电缆","流通领域","济南市天桥区鼎信五金经营部","92370105MA3P3FNB9P","山东阳谷中信电缆有限公司","20230805/-","YJV 5×6 0.6/1kV","龙信","合格","济南市产品质量检验院",""]
["103","一般用途单芯硬导体无护套电缆","流通领域","济南市天桥区鼎信五金经营部","92370105MA3P3FNB9P","山东阳谷中信电缆有限公司","20230822/-","60227 IEC 01(BV) 4mm² 450/750V","龙信","合格","济南市产品质量检验院",""]
["104","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市天桥区华尧五金经销部","92370105MA3L9C740G","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["105","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市天桥区华尧五金经销部","92370105MA3L9C740G","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["106","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市天桥区华尧五金经销部","92370105MA3L9C740G","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["107","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市天桥区绿灯行电线电缆经营部","92370105MACPQEK09E","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["108","聚氯乙烯绝缘无护套阻燃电缆电线","流通领域","济南市天桥区绿灯行电线电缆经营部","92370105MACPQEK09E","山东诚阳电缆有限公司","202308/-","ZR-BV 2.5mm² 450/750V","诚聘","合格","济南市产品质量检验院",""]
["109","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市天桥区绿灯行电线电缆经营部","92370105MACPQEK09E","山东诚阳电缆有限公司","20230303/-","60227 IEC 01(BV)    1×4mm² 450/750V","诚聘","合格","济南市产品质量检验院",""]
["110","聚氯乙烯绝缘无护套电线电缆","流通领域","济南市天桥区年华五金商行","92370105MA3L90G537","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["111","聚氯乙烯绝缘无护套阻燃电缆电线","流通领域","济南市天桥区年华五金商行","92370105MA3L90G537","绿灯行电缆集团有限公司","202305/-","ZR-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["112","聚氯乙烯绝缘无护套电缆电线","流通领域","济南市天桥区年华五金商行","92370105MA3L90G537","绿灯行电缆集团有限公司","202101/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["113","聚氯乙烯绝缘软电线电缆","流通领域","济南市天桥区同聚福五金经营部","92370105MA3LDHR27D","公牛集团股份有限公司","2023.7/-","RVV 2X1.5mm² 300/500V","公牛","合格","济南市产品质量检验院",""]
["114","聚氯乙烯绝缘无护套电线电缆","流通领域","济南顺泽装饰材料有限公司","91370104353478616J","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["115","聚氯乙烯绝缘无护套电线电缆","流通领域","济南顺泽装饰材料有限公司","91370104353478616J","绿灯行电缆集团有限公司","2021.01/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["116","铜芯聚氯乙烯绝缘阻燃型电缆","流通领域","济南顺泽装饰材料有限公司","91370104353478616J","江西扬帆实业有限公司","20221223/-","ZR-BV 2.5mm² 450-750V","扬帆电缆（圆形商标）","合格","济南市产品质量检验院",""]
["117","聚氯乙烯绝缘阻燃电线","流通领域","济南信义五交化有限公司","91370124MA3C7H155J","山东鲁东电缆股份有限公司","20230412/-","ZC-BV 6mm² 450/750V","/","合格","济南市产品质量检验院",""]
["118","聚氯乙烯绝缘阻燃电线","流通领域","济南信义五交化有限公司","91370124MA3C7H155J","山东鲁东电缆股份有限公司","20230713/-","ZC-BV4mm² 450/750V","/","合格","济南市产品质量检验院",""]
["119","聚氯乙烯绝缘阻燃电线","流通领域","济南信义五交化有限公司","91370124MA3C7H155J","山东鲁东电缆股份有限公司","20230721/-","ZC-BV 2.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["120","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南章丘百容五金经销部","92370181MA3PCF060H","嘉星线缆有限公司","202309/-","ZC-BV 2.5mm² 450/750V","嘉星线缆","合格","济南市产品质量检验院",""]
["121","聚氯乙烯绝缘无护套电线电缆","流通领域","济南章丘百容五金经销部","92370181MA3PCF060H","山东阳谷万里行电缆有限公司","2023-03-07/-","60227 IEC 01(BV) 4mm² 450/750V","心驰","合格","济南市产品质量检验院",""]
["122","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南章丘百容五金经销部","92370181MA3PCF060H","嘉星线缆有限公司","2023年2月/-","ZC-BV 1.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["123","聚氯乙烯绝缘电缆","流通领域","济南章丘双龙五金经营部","92370181MA3LBW113R","山东田泰电缆有限公司","202303/-","60227 IEC 01(BV) 2.5mm² 450/750V","田泰","合格","济南市产品质量检验院",""]
["124","聚氯乙烯绝缘电缆","流通领域","济南章丘双龙五金经营部","92370181MA3LBW113R","山东田泰电缆有限公司","202303/-","60227 IEC 01(BV) 1.5mm² 450/750V","田泰","合格","济南市产品质量检验院",""]
["125","聚氯乙烯绝缘电缆","流通领域","济南章丘双龙五金经营部","92370181MA3LBW113R","山东田泰电缆有限公司","202303/-","60227 IEC 01(BV) 4mm² 450/750V","田泰","合格","济南市产品质量检验院",""]
["126","聚氯乙烯绝缘电缆","流通领域","济南鑫嘉苑建材有限公司","91370103MA3UFD8E2L","山东阳谷电缆电线厂","20210723/-","ZR-BV 4mm² 450/750V","宏达","合格","济南市产品质量检验院",""]
["127","聚氯乙烯绝缘无护套电线电缆","流通领域","济南鑫嘉苑建材有限公司","91370103MA3UFD8E2L","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["128","聚氯乙烯绝缘无护套电线电缆","流通领域","济南鑫嘉苑建材有限公司","91370103MA3UFD8E2L","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["129","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济阳县大站阀门销售中心","92370125MA3LFCM499","绿灯行电缆集团有限公司","202304/-","ZC-BV 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["130","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县大站阀门销售中心","92370125MA3LFCM499","山东共辉电缆有限公司","202302/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["131","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县大站阀门销售中心","92370125MA3LFCM499","山东共辉电缆有限公司","202208/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["132","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县恒昌五金商行","92370125MA3L9L147W","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["133","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县恒昌五金商行","92370125MA3L9L147W","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["134","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县恒昌五金商行","92370125MA3L9L147W","山东阳谷万里行电缆有限公司","20230610/-","60227 IEC 01(BV) 2.5mm² 450/750V","心驰","合格","济南市产品质量检验院",""]
["135","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县隆捷劳保用品经营部","92370125MA3DQW3P7P","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["136","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县隆捷劳保用品经营部","92370125MA3DQW3P7P","绿灯行电缆集团有限公司","202302/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["137","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县暖鑫水暖器材销售中心","92370125MA3LFYUL9X","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["138","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县暖鑫水暖器材销售中心","92370125MA3LFYUL9X","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["139","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县暖鑫水暖器材销售中心","92370125MA3LFYUL9X","绿灯行电缆集团有限公司","202211/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["140","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县晰阳五金商店","92370125MA3FDEQR19","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["141","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县晰阳五金商店","92370125MA3FDEQR19","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["142","聚氯乙烯绝缘无护套电线电缆","流通领域","济阳县晰阳五金商店","92370125MA3FDEQR19","绿灯行电缆集团有限公司","202303/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["143","聚氯乙烯绝缘电线","流通领域","济阳县宇龙机电设备商场","92370125MA3LBUY424","青岛湛山特种线缆有限公司","202308/-","ZR-RVV 2×1.5mm² 300/500V","湛山","合格","济南市产品质量检验院",""]
["144","聚氯乙烯绝缘电线","流通领域","济阳县宇龙机电设备商场","92370125MA3LBUY424","青岛湛山特种线缆有限公司","202308/-","ZR-RVS 2×2.5mm² 300/300V","湛山","合格","济南市产品质量检验院",""]
["145","聚氯乙烯绝缘无护套电线电缆","流通领域","莱芜市鼎润五金有限公司","91371203MA3N46941R","绿灯行电缆集团有限公司","202012/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["146","聚氯乙烯绝缘无护套电线电缆","流通领域","莱芜市鼎润五金有限公司","91371203MA3N46941R","山东绿灯行电缆有限公司","202202/-","60227 IEC 01(BV) 2.5mm² 450/750V（蓝）","绿灯行","合格","济南市产品质量检验院",""]
["147","聚氯乙烯绝缘无护套电线电缆","流通领域","莱芜市鼎润五金有限公司","91371203MA3N46941R","绿灯行电缆集团有限公司","202112/-","60227 IEC 01(BV) 2.5mm² 450/750V（黄/绿）","绿灯行","合格","济南市产品质量检验院",""]
["148","聚氯乙烯绝缘无护套电线电缆","流通领域","莱芜市鼎润五金有限公司","91371203MA3N46941R","绿灯行电缆集团有限公司","202112/-","60227 IEC 01(BV) 2.5mm² 450/750V(绿)","绿灯行","合格","济南市产品质量检验院",""]
["149","一般用途单芯硬导体无护套电缆","流通领域","莱芜市钢城区赢鲁物资经营部","92371203MA3FKB320M","深圳德一力一西电线电缆有限公司","20230312/-","ZC-BV 2.5mm² 450/750V","巴洛克","合格","济南市产品质量检验院",""]
["150","一般用途单芯硬导体无护套电缆","流通领域","莱芜市钢城区赢鲁物资经营部","92371203MA3FKB320M","深圳德一力一西电线电缆有限公司","20220916/-","ZC-BV 4mm² 450/750V","巴洛克","合格","济南市产品质量检验院",""]
["151","聚氯乙烯绝缘无护套电线电缆","流通领域","莱芜市钢城区赢鲁物资经营部","92371203MA3FKB320M","山东阳谷中鲁电缆有限公司","20230824/-","60227 IEC 01(BV) 4mm² 450/750V","大鲁","合格","济南市产品质量检验院",""]
["152","聚氯乙烯绝缘无护套电线电缆","流通领域","莱芜市钢城区赢鲁物资经营部","92371203MA3FKB320M","山东阳谷中鲁电缆有限公司","20230831/-","60227 IEC 01(BV) 2.5mm² 450/750V","大鲁","合格","济南市产品质量检验院",""]
["153","一般用途单芯硬导体无护套电缆","流通领域","莱芜市莱城区学民电线电缆销售部","92371202MA3FJ1H78L","山东阳谷阳光电缆有限公司","20221103/-","60227 IEC 01(BV) 2.5mm² 450/750V","月辉","合格","济南市产品质量检验院",""]
["154","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","莱芜市莱城区学民电线电缆销售部","92371202MA3FJ1H78L","绿灯行电缆集团有限公司","202101/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["155","聚氯乙烯绝缘无护套电线电缆","流通领域","莱芜市莱城区学民电线电缆销售部","92371202MA3FJ1H78L","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV)1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["156","聚氯乙烯绝缘无护套电线电缆","流通领域","历城区冠哲五金店","92370112MA3PP1HE72","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["157","聚氯乙烯绝缘无护套电线电缆","流通领域","历城区冠哲五金店","92370112MA3PP1HE72","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["158","聚氯乙烯绝缘无护套电线电缆","流通领域","历城区老侯五金店","92370112MA3QG4530Y","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["159","聚氯乙烯绝缘无护套电线电缆","流通领域","历城区老侯五金店","92370112MA3QG4530Y","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["160","聚氯乙烯绝缘无护套电线电缆","流通领域","历城区老侯五金店","92370112MA3QG4530Y","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["161","聚氯乙烯绝缘电线","流通领域","历城区小凤五金百货店","92370112MA3LJ0PD0P","阳谷阿城华星线缆厂","20230615/-","ZR-BV 1.5mm² 450/750V","胜华星","合格","济南市产品质量检验院",""]
["162","聚氯乙烯绝缘电缆","流通领域","历城区小凤五金百货店","92370112MA3LJ0PD0P","阳谷阿城华星线缆厂","20230528/-","ZR-BV 2.5mm² 450/750V","胜华星","合格","济南市产品质量检验院",""]
["163","聚氯乙烯绝缘电缆","流通领域","历城区小凤五金百货店","92370112MA3LJ0PD0P","阳谷阿城华星线缆厂","20230718/-","ZR-BV 4mm² 450/750V","胜华星","合格","济南市产品质量检验院",""]
["164","聚氯乙烯绝缘无护套电线电缆","流通领域","历城区佐鹏五金店","92370112MA3RH6XT31","绿灯行电缆集团有限公司","202306/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["165","聚氯乙烯绝缘无护套电线电缆","流通领域","历城区佐鹏五金店","92370112MA3RH6XT31","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["166","聚氯乙烯绝缘无护套电线电缆","流通领域","马书强","92370103MA3L9RCJ6Y","绿灯行电缆集团有限公司","202112/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["167","聚氯乙烯绝缘无护套电缆电线","流通领域","马书强","92370103MA3L9RCJ6Y","绿灯行电缆集团有限公司","202105/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["168","聚氯乙烯绝缘无护套电线电缆","流通领域","马书强","92370103MA3L9RCJ6Y","山东绿灯行电缆有限公司","2019.10/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["169","聚氯乙烯绝缘电缆","流通领域","南山区和红平五金经营部","92370128MA3NDHDA5T","乐陵市长城电线电缆厂","20211119/-","BV 2.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["170","聚氯乙烯绝缘电缆","流通领域","南山区和红平五金经营部","92370128MA3NDHDA5T","乐陵市长城电线电缆厂","20220510/-","BV 4mm² 450/750V","/","合格","济南市产品质量检验院",""]
["171","聚氯乙烯绝缘电缆","流通领域","南山区和红平五金经营部","92370128MA3NDHDA5T","乐陵市长城电线电缆厂","20210120/-","BV 1.5mm² 450/750V","/","合格","济南市产品质量检验院",""]
["172","聚氯乙烯绝缘电缆","流通领域","平阴县邱景五金店","92370124MA3U157A58","阳谷鑫锐线缆有限公司","202308/-","ZR-BV 4mm² 450/750V","昱辉","合格","济南市产品质量检验院",""]
["173","聚氯乙烯绝缘电缆","流通领域","平阴县邱景五金店","92370124MA3U157A58","阳谷鑫锐线缆有限公司","202306/-","ZR-BV 2.5mm² 450/750V","昱辉","合格","济南市产品质量检验院",""]
["174","聚氯乙烯绝缘电缆","流通领域","平阴县邱景五金店","92370124MA3U157A58","阳谷鑫锐线缆有限公司","202306/-","ZR-BV 1.5mm² 450/750V","昱辉","合格","济南市产品质量检验院",""]
["175","聚氯乙烯绝缘无护套电线电缆","流通领域","平阴县晓洋五金商行","92370124MA3L9HFK6L","阳谷万通电缆有限公司","20230723/-","60227 IEC 01(BV) 1.5mm² 450/750V","万恒","合格","济南市产品质量检验院",""]
["176","聚氯乙烯绝缘无护套电线电缆","流通领域","平阴县晓洋五金商行","92370124MA3L9HFK6L","阳谷万通电缆有限公司","20230914/-","60227 IEC 01(BV) 2.5mm² 450/750V","万恒","合格","济南市产品质量检验院",""]
["177","聚氯乙烯绝缘无护套电线电缆","流通领域","平阴县晓洋五金商行","92370124MA3L9HFK6L","阳谷万通电缆有限公司","20230917/-","60227 IEC 01(BV) 4mm² 450/750V","万恒","合格","济南市产品质量检验院",""]
["178","聚氯乙烯绝缘无护套电线电缆","流通领域","平阴县晓洋五金商行","92370124MA3L9HFK6L","绿灯行电缆集团有限公司","202303/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["179","聚氯乙烯绝缘软电线电缆","流通领域","平阴县鑫发五金土产店","92370124MA3RQPR68J","公牛集团股份有限公司","2304/-","60227 IEC 53(RVV) 2×1.0mm² 300/500V","公牛","合格","济南市产品质量检验院",""]
["180","聚氯乙烯绝缘软电线电缆","流通领域","平阴县鑫发五金土产店","92370124MA3RQPR68J","公牛集团股份有限公司","2308/-","60227 IEC 53(RVV) 2×1.0mm² 300/500V","公牛","合格","济南市产品质量检验院",""]
["181","聚氯乙烯绝缘软电线电缆","流通领域","平阴县鑫发五金土产店","92370124MA3RQPR68J","公牛集团股份有限公司","2306/-","60227 IEC 53(RVV) 2×0.75 300/500V","公牛","合格","济南市产品质量检验院",""]
["182","聚氯乙烯绝缘软电线电缆","流通领域","平阴县鑫华玫五金批发部","92370124MACGLATBX2","公牛集团股份有限公司","202307/-","60227 IEC 53(RVV) 2×0.75mm² 300/500V","公牛","合格","济南市产品质量检验院",""]
["183","聚氯乙烯绝缘软电线电缆","流通领域","平阴县鑫华玫五金批发部","92370124MACGLATBX2","公牛集团股份有限公司","202306/-","60227 IEC 53(RVV) 2×1.0mm² 300/500V","公牛","合格","济南市产品质量检验院",""]
["184","聚氯乙烯绝缘软电线电缆","流通领域","平阴县鑫华玫五金批发部","92370124MACGLATBX2","公牛集团股份有限公司","202308/-","RVV 2X1.5mm² 300/500V","公牛","合格","济南市产品质量检验院",""]
["185","聚氯乙烯绝缘无护套电线","流通领域","山东佰斯特电工有限公司","91370112MA3M2RY11L","山东天猫线缆有限公司","20230910/-","60227 IEC 01(BV) 2.5mm² 450/750V","誉辉电缆","合格","济南市产品质量检验院",""]
["186","聚氯乙烯绝缘护套电线电缆","流通领域","山东佰斯特电工有限公司","91370112MA3M2RY11L","山东天猫线缆有限公司","20230903/-","60227 IEC 53(RVV) 2×1mm² 300/500V","誉辉电缆","合格","济南市产品质量检验院",""]
["187","无卤低烟聚烯烃绝缘电线","流通领域","山东佰斯特电工有限公司","91370112MA3M2RY11L","山东天猫线缆有限公司","2023.9.2/-","WDZ-BYJ 4mm² 450/750V","誉辉电缆","合格","济南市产品质量检验院",""]
["188","聚氯乙烯绝缘无护套电线电缆","流通领域","山东太平洋电缆有限公司济南分公司","913701053071940142","山东阳谷万里行电缆有限公司","20230610/-","60227 IEC 01(BV) 2.5mm² 450/750V","心驰","合格","济南市产品质量检验院",""]
["189","聚氯乙烯绝缘电缆","流通领域","山东太平洋电缆有限公司济南分公司","913701053071940142","上海永进电缆（集团）有限公司","20190803/-","ZR-BV 1.5mm² 450/750V","上进","合格","济南市产品质量检验院",""]
["190","聚氯乙烯绝缘无护套电线电缆","流通领域","山东太平洋电缆有限公司济南分公司","913701053071940142","山东阳谷万里行电缆有限公司","20230610/-","60227 IEC 01(BV) 2.5mm² 450/750V","心驰","合格","济南市产品质量检验院",""]
["191","聚氯乙烯绝缘无护套电线电缆","流通领域","山东阳光装饰装修工程有限公司","91370103MA3RQ2XY2D","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["192","聚氯乙烯绝缘电缆","流通领域","山东阳光装饰装修工程有限公司","91370103MA3RQ2XY2D","山东阳谷电缆电线厂","2023/06/-","ZR-BV 2.5mm² 450/750V","宏达","合格","济南市产品质量检验院",""]
["193","聚氯乙烯绝缘无护套电线电缆","流通领域","山东阳光装饰装修工程有限公司","91370103MA3RQ2XY2D","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["194","聚氯乙烯绝缘无护套电缆电线","流通领域","商河泰商五金机电供应厂","92370126MA9547CG6W","绿灯行电缆集团有限公司","202108/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["195","聚氯乙烯绝缘无护套电缆电线","流通领域","商河泰商五金机电供应厂","92370126MA9547CG6W","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["196","聚氯乙烯绝缘无护套电缆电线","流通领域","商河泰商五金机电供应厂","92370126MA9547CG6W","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["197","一般用途单芯硬导体无护套电缆","流通领域","商河县常盛五金机电经营处","92370126MA3LDC873Y","广州德利西通达线缆有限公司","//-","BVR  4mm² 450/750V","DELIXI","合格","济南市产品质量检验院",""]
["198","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县常盛五金机电经营处","92370126MA3LDC873Y","天津正泰五星线缆有限公司","202205/-","ZR-BV 1.5mm² 450-750V","金诚德","合格","济南市产品质量检验院",""]
["199","低烟无卤阻燃耐火电线","流通领域","商河县常盛五金机电经营处","92370126MA3LDC873Y","山东阳谷阳光电缆有限公司","201806/-","WDZN-BYJ 2.5mm² 450/750V","月辉","合格","济南市产品质量检验院",""]
["200","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县东鹏灯具经营部","92370126MA3MBG778Q","绿灯行电缆集团有限公司","2023.04/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["201","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县东鹏灯具经营部","92370126MA3MBG778Q","绿灯行电缆集团有限公司","202302/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["202","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县东鹏灯具经营部","92370126MA3MBG778Q","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["203","聚氯乙烯绝缘无护套电缆电线","流通领域","商河县起点灯饰部","92370126MACM0LR162","阳谷阿城华星线缆厂","20230901/-","ZR-BV 2.5mm² 450-750V (兰)","鑫鸿辉","合格","济南市产品质量检验院",""]
["204","聚氯乙烯绝缘无护套电缆电线","流通领域","商河县起点灯饰部","92370126MACM0LR162","阳谷阿城华星线缆厂","20230901/-","ZR-BV 2.5mm² 450-750V (红)","鑫鸿辉","合格","济南市产品质量检验院",""]
["205","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县万顺五交化批发部","92370126MA3LCBMP14","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V （黄/绿）","绿灯行","合格","济南市产品质量检验院",""]
["206","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县万顺五交化批发部","92370126MA3LCBMP14","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V （蓝）","绿灯行","合格","济南市产品质量检验院",""]
["207","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县万顺五交化批发部","92370126MA3LCBMP14","绿灯行电缆集团有限公司","202211/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["208","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县远大五金经营店","92370126MA3LDG0T32","绿灯行电缆集团有限公司","202304/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["209","聚氯乙烯绝缘无护套电缆电线","流通领域","商河县远大五金经营店","92370126MA3LDG0T32","绿灯行电缆集团有限公司","202108/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["210","聚氯乙烯绝缘无护套电线电缆","流通领域","商河县远大五金经营店","92370126MA3LDG0T32","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["211","聚氯乙烯绝缘无护套电线电缆","流通领域","市中区百玉五金建材店","92370103MA7GRY9950","绿灯行电缆集团有限公司","202305/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["212","聚氯乙烯绝缘无护套电线电缆","流通领域","市中区百玉五金建材店","92370103MA7GRY9950","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["213","聚氯乙烯绝缘无护套电线电缆","流通领域","市中区百玉五金建材店","92370103MA7GRY9950","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["214","聚氯乙烯绝缘电缆电线","流通领域","市中区宇芳五金产品店","92370103MA3PPP106K","乐陵市长城电线电缆厂","20230612/-","60227 IEC 01(BV) 4mm² 450/750V","鲁德通","合格","济南市产品质量检验院",""]
["215","聚氯乙烯绝缘无护套电线电缆","流通领域","市中区宇芳五金产品店","92370103MA3PPP106K","绿灯行电缆集团有限公司","202303/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["216","聚氯乙烯绝缘电缆电线","流通领域","市中区宇芳五金产品店","92370103MA3PPP106K","特变电工山东鲁能泰山电缆有限公司","20230614/-","60227 IEC 01(BV) 2.5mm² 450/750V","特变电工","合格","济南市产品质量检验院",""]
["217","聚氯乙烯绝缘电缆电线","流通领域","市中区宇芳五金产品店","92370103MA3PPP106K","乐陵市长城电线电缆厂","20230612/-","60227 IEC 01(BV) 2.5mm² 450/750V","鲁德通","合格","济南市产品质量检验院",""]
["218","聚氯乙烯绝缘无护套电缆电线","流通领域","天桥区新合五金交电商店","92370105MA3L947H5K","山东绿灯行电缆有限公司","201904/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["219","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","天桥区新合五金交电商店","92370105MA3L947H5K","绿灯行电缆集团有限公司","202304/-","ZC-BV 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["220","聚氯乙烯绝缘无护套电线电缆","流通领域","天桥区昱坤综合商店","92370105MA3LBCFC8E","绿灯行电缆集团有限公司","202306/-","60227 IEC 01(BV) 2.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["221","聚氯乙烯绝缘无护套电线电缆","流通领域","天桥区昱坤综合商店","92370105MA3LBCFC8E","山东绿灯行电缆有限公司","202201/-","60227 IEC 01(BV) 1.5mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["222","聚氯乙烯绝缘无护套电线电缆","流通领域","天桥区昱坤综合商店","92370105MA3LBCFC8E","绿灯行电缆集团有限公司","202209/-","60227 IEC 01(BV) 4mm² 450/750V","绿灯行","合格","济南市产品质量检验院",""]
["223","低烟无卤绝缘电线电缆","流通领域","章丘市刁镇桂林五金经营部","92370181MA3L900A2G","山东阳谷中鲁电缆有限公司","20200406/-","WDZC-BYJ 4mm² 450/750V","大鲁","合格","济南市产品质量检验院",""]
["224","聚氯乙烯绝缘无护套电缆电线","流通领域","章丘市刁镇桂林五金经营部","92370181MA3L900A2G","山东富强特种线缆有限公司","20230914/-","60227 IEC 01(BV) 2.5mm² 450/750V","鲁冠","合格","济南市产品质量检验院",""]
["225","聚氯乙烯绝缘无护套电缆电线","流通领域","章丘市刁镇桂林五金经营部","92370181MA3L900A2G","山东田泰电缆有限公司","201805/-","BV 1mm² 450/750V","龙泰","合格","济南市产品质量检验院",""]
["226","一般用途单芯硬导体无护套电缆","流通领域","章丘市龙山百祥五金交电经营部","92370181MA3LF09J6N","阳谷阳光线缆有限公司","2023.09.15/-","（红）60227 IEC 01(BV) 2.5","月辉","合格","济南市产品质量检验院",""]
["227","一般用途单芯硬导体无护套电缆","流通领域","章丘市龙山百祥五金交电经营部","92370181MA3LF09J6N","阳谷阳光线缆有限公司","2023.08.18/-","60227 IEC 01(BV) 4","月辉","合格","济南市产品质量检验院",""]
["228","一般用途单芯硬导体无护套电缆","流通领域","章丘市龙山百祥五金交电经营部","92370181MA3LF09J6N","阳谷阳光线缆有限公司","20230915/-","60227 IEC 01(BV) 2.5mm² 450/750V","同辉","合格","济南市产品质量检验院",""]
["229","聚氯乙烯绝缘电缆","流通领域","章丘市永信电器安装服务部","92370181MA3LHHJR2Y","泰安市泰山区泰华电缆厂","202201/-","BLV 4mm² 450/750V","盛泰","合格","济南市产品质量检验院",""]
["230","聚氯乙烯绝缘无护套电线电缆","流通领域","章丘市永信电器安装服务部","92370181MA3LHHJR2Y","山东嬴泰线缆集团有限公司","20210321/-","60227 IEC 01(BV) 1.5mm² 450/750V","赢中王","合格","济南市产品质量检验院",""]
["231","聚氯乙烯绝缘无护套电线电缆","流通领域","章丘市永信电器安装服务部","92370181MA3LHHJR2Y","阳谷万通电缆有限公司","20230307/-","60227 IEC 01(BV) 4mm² 450/750V","万恒","合格","济南市产品质量检验院",""]
["232","聚氯乙烯绝缘无护套电线电缆","流通领域","章丘市永信电器安装服务部","92370181MA3LHHJR2Y","阳谷万通电缆有限公司","20230915/-","60227 IEC 01(BV) 2.5mm² 450/750V","万恒","合格","济南市产品质量检验院",""]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}