{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":15,"n_cols":11,"rows_kept":15,"cut":false,"hidden":false,"merged":[[0,0,0,10],[1,0,1,10]],"flags":["formulas_cached_only"]}
["附件2"]
["2023年手提式灭火器产品质量市级监督抽查合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","承检单位"]
["1","手提式干粉灭火器","流通领域","山东济骏商贸有限公司","91370105MA7M1QEX5Q","济俊消防科技有限公司","2023年7月29日/-","MFZ/ABC4","图文商标","合格","山东省产品质量检验研究院"]
["2","手提式干粉灭火器","流通领域","济南市天桥区盛泽建材经营部","92370105MA3N9CHK7K","焦作电力集团消防器材制造有限公司","2023年6月/-","MFZ/ABC4J","图文商标","合格","山东省产品质量检验研究院"]
["3","手提式干粉灭火器","流通领域","章丘市消防器材有限责任公司经销维修部","9137018196483363X0","潍坊华宝消防器材有限公司","2023年5月/-","MFZ/ABC4-A","绿消","合格","山东省产品质量检验研究院"]
["4","手提式干粉灭火器","流通领域","章丘市明水顺鑫消防器材经营部","92370181MA3LGYHE4A","山东鼎梁消防科技有限公司","2023-06/-","MFZ/ABC4","鼎梁消防","合格","山东省产品质量检验研究院"]
["5","手提式干粉灭火器","流通领域","山东莘安消防设备有限公司","91370103MA94A55A9E","山东实鼎消防科技有限公司","2023年6月/-","MFZ/ABC4","图文商标","合格","山东省产品质量检验研究院"]
["6","手提式干粉灭火器","流通领域","山东兴晨消防器材有限公司","91370105MA3RM7AE41","江苏聚启胜消防科技有限公司","2023.11/-","MFZ/ABC3","/","合格","山东省产品质量检验研究院"]
["7","手提式干粉灭火器","流通领域","济南万安消防设备有限公司","91370105689802379M","潍坊华宝消防器材有限公司","2023年10月/-","MFZ/ABC3型","绿消","合格","山东省产品质量检验研究院"]
["8","手提式干粉灭火器","流通领域","济南万安消防设备有限公司","91370105689802379M","潍坊华宝消防器材有限公司","2023年10月/-","MFZ/ABC2-A型","绿消","合格","山东省产品质量检验研究院"]
["9","手提式干粉灭火器","流通领域","山东兴晨消防器材有限公司","91370105MA3RM7AE41","南阳市荣安消防器材有限公司","2023年10月/-","MFZ/ABC4","/","合格","山东省产品质量检验研究院"]
["10","手提式干粉灭火器","流通领域","济南盛鑫消防器材有限公司","91370112589939394D","山东龙成消防科技股份有限公司","2023年7月/-","MFZ/ABC1型","薪薪","合格","山东省产品质量检验研究院"]
["11","手提式干粉灭火器","流通领域","山东兴晨消防器材有限公司","91370105MA3RM7AE41","江苏聚启胜消防科技有限公司","2023.10/-","MFZ/ABC4","/","合格","山东省产品质量检验研究院"]
["12","手提式干粉灭火器","流通领域","济南盛鑫消防器材有限公司","91370112589939394D","山东龙成消防科技股份有限公司","2023年8月/-","MFZ/ABC2型","薪薪","合格","山东省产品质量检验研究院"]