{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":5,"n_cols":12,"rows_kept":5,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2024年燃气用具连接用软管产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
["1","燃气用具连接用不锈钢波纹管","流通领域","济南市钢城区美家装饰经营部","92370117MA7G09P59P","余姚市满逸水暖洁具厂","2023.9.6/-","RLB-ZH-CS-10×1500","嘉佑嘉烨","不合格","软管弯曲性","山东省产品质量检验研究院"]
["2","燃气用具连接用304不锈钢波纹软管","流通领域","马宾","92370181MA3F6PX07C","余姚市博艺吸塑制品厂","2024/04/01/-","RLB-ZH-CS-10","/","不合格","软管弯曲性","山东省产品质量检验研究院"]