{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":6,"n_cols":12,"rows_kept":6,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2024年电源产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
["1","30W快充充电器","流通领域","济南钢城区顺迪鑫商贸有限公司","91371202MA3ET0J04X","安克创新科技股份有限公司","2022年","A2146","/","不合格","直接插入电网电源输出插座的设备","深圳市计量质量检测研究院"]
["2","简系列22.5W 快充旅行适配器","流通领域","济南历下吉瑞元手机通讯店（个体工商户）","92370102MAD98HXE3K","深圳市睿禾科技有限公司","2023-04/","RP-U72","REMAX睿量","不合格","直接插入电网电源输出插座的设备","深圳市计量质量检测研究院"]
["3","快充电源适配器","流通领域","南山区少超电子器材经营部","92370128MAC46M0F8F","来酷科技有限公司","/","LKD20Ｗ","/","不合格","断开连接器后电容器的放电","深圳市计量质量检测研究院"]