{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":11,"n_cols":13,"rows_kept":11,"cut":false,"hidden":false,"merged":[[0,0,0,12],[1,0,1,12]],"flags":["formulas_cached_only"]}
["附件1"]
["2023年电线电缆产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位","备注"]
["1","聚氯乙烯绝缘电缆","流通领域","济南市长清区黎曰月五金建材商行","92370113MA3LDCG23C","阳谷鑫鸿线缆有限公司","20230210/-","ZR-BV 1.5mm² 450/750V","辉源","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]
["2","聚氯乙烯绝缘电缆","流通领域","济南市长清区黎曰月五金建材商行","92370113MA3LDCG23C","阳谷鑫鸿线缆有限公司","20230624/-","ZR-BV 4mm² 450/750V","鲁鑫鸿","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]
["3","聚氯乙烯绝缘电缆","流通领域","济南市长清区黎曰月五金建材商行","92370113MA3LDCG23C","阳谷鑫鸿线缆有限公司","2023624/-","ZR-BV 2.5mm² 450/750V","鲁鑫鸿","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]
["4","聚氯乙烯绝缘电线","流通领域","济南市钢城区华鹏五金机电经营部","92371203MA3FK8AR1J","正泰线缆科技（天津）有限公司","20231016/-","ZR-BV 2.5mm² 450/750V","双盛","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]
["5","聚氯乙烯绝缘电线","流通领域","济南市钢城区华鹏五金机电经营部","92371203MA3FK8AR1J","正泰线缆科技（天津）有限公司","20231016/-","ZR-BV 4mm² 450/750V","双盛","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]
["6","聚氯乙烯绝缘电线","流通领域","济南市钢城区华鹏五金机电经营部","92371203MA3FK8AR1J","正泰线缆科技（天津）有限公司","20231016/-","ZR-BV 1.5mm² 450/750V","双盛","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]
["7","聚氯乙烯绝缘无护套阻燃电线电缆","流通领域","济南市莱芜区李宁五金电器经营部","92370116MA3T2DDE2H","嘉星线缆有限公司","2022.10/-","ZR-BV 1.5mm² 450/750V","畅泰","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]
["8","聚氯乙烯绝缘无护套电缆电线","流通领域","济南市莱芜区晓华五金经营部","92371202MA3FHQ1H59","阳谷县狮子楼办事处同辉电缆厂","20210829/-","ZR-BV 1.5mm² 450/750V","赢辉","不合格","电气性能试验-导体电阻（20℃）","济南市产品质量检验院"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}