{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":9,"n_cols":12,"rows_kept":9,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2024年灭火毯产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
[1,"硅胶灭火毯（灭火毯）","电商领域","济南特赛夫防护用品有限公司","91370105560786611Q","济南特赛夫防护用品有限公司","//-","1.5m×1.5m","/","不合格","手持件及包边材料的阻燃性能","山东省产品质量检验研究院"]
[2,"硅胶灭火毯（灭火毯）","电商领域","济南特赛夫防护用品有限公司","91370105560786611Q","济南特赛夫防护用品有限公司","//-","1.2m×1.2m","/","不合格","手持件及包边材料的阻燃性能","山东省产品质量检验研究院"]
[3,"硅胶灭火毯（灭火毯）","电商领域","济南特赛夫防护用品有限公司","91370105560786611Q","济南特赛夫防护用品有限公司","//-","1m×1m","/","不合格","手持件及包边材料的阻燃性能","山东省产品质量检验研究院"]
[4,"灭火毯","电商领域","山东安鑫消防设备有限公司","91370112MACAL9NY18","廊坊世豪防火材料有限公司","2024年6月1日/-","1200×1200","/","不合格","手持件及包边材料的阻燃性能","山东省产品质量检验研究院"]
[5,"灭火毯","电商领域","山东安鑫消防设备有限公司","91370112MACAL9NY18","廊坊世豪防火材料有限公司","2024年6月1日/-","MJT  1500×1500","/","不合格","手持件及包边材料的阻燃性能","山东省产品质量检验研究院"]
[6,"灭火毯","电商领域","山东安鑫消防设备有限公司","91370112MACAL9NY18","廊坊世豪防火材料有限公司","2024年6月1日/-","MJT  1000×1000","/","不合格","手持件及包边材料的阻燃性能","山东省产品质量检验研究院"]