{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":5,"n_cols":12,"rows_kept":5,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2023年潜水电泵产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
["1","单相潜水电泵","流通领域","莱芜市莱城区润通五金机电批发部","92371202MA3FHW7B0J","台州市腾豪泵业有限公司","2020/2020","QDX1.5-16-0.37","豪丰","不合格","接地","山东腾翔产品质量检测有限公司"]
[null,"以下空白"]