{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":9,"n_cols":11,"rows_kept":9,"cut":false,"hidden":false,"merged":[[0,0,0,10],[1,0,1,10]],"flags":["formulas_cached_only"]}
["附件2"]
["2023年燃气紧急切断阀产品质量市级监督抽查合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","承检单位"]
["1","电磁式燃气紧急切断阀","流通领域","莱芜中石油昆仑燃气有限公司","91371200695407316J","河北秦汉电子科技有限公司","2023.7","DRQF-15-0.01/KTLD","/","合格","山东腾翔产品质量检测有限公司"]
["2","电磁式燃气紧急切断阀","流通领域","济南中燃城市燃气发展有限公司","913701817424347566","欧好光电控制技术（上海）股份有限公司","2023.05.15","DRQF-15-0.01/KTL/9DA1","欧好光电","合格","山东腾翔产品质量检测有限公司"]
["3","燃气紧急切断阀","流通领域","济南奥德燃气有限公司","913701250952976002","日照市睿博电子科技有限责任公司","2019.10","DRQF-DN15","/","合格","山东腾翔产品质量检测有限公司"]
["4","电磁式燃气紧急切断阀","流通领域","山东炬通程燃气工程有限公司济阳分公司","91370125771009708N","成都鑫豪斯电子探测技术有限公司","2023年04月","DRQF-15-0.01/KTL-XF2D","/","合格","山东腾翔产品质量检测有限公司"]
["5","电磁燃气紧急切断阀","流通领域","山东炬通程燃气工程有限公司高河分公司","91370126787443883Q","济南本安科技发展有限公司","2023.10.14","BenAn-DN15","本安","合格","山东腾翔产品质量检测有限公司"]
[null,"以下空白"]