{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":40,"n_cols":11,"rows_kept":40,"cut":false,"hidden":false,"merged":[[0,0,0,10],[1,0,1,10]],"flags":["formulas_cached_only"]}
["附件2"]
["2023年手提式灭火器产品质量市级监督抽查合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","承检单位"]
["1","手提式干粉灭火器","流通领域","济南市中龙安消防器材经销处","92370103MA3F29HXX7","青岛楼山消防器材厂有限公司","2024-01//","MFZ/ABC1型","龙雹","合格","山东腾翔产品质量检测有限公司"]
["2","手提式干粉灭火器","流通领域","济南利华消防器材有限公司","913701047618709835","青岛楼山消防器材厂有限公司","2024-02//","MFZ/ABC4型","龙雹","合格","山东腾翔产品质量检测有限公司"]
["3","手提式干粉灭火器","流通领域","济南市历城区路畅安防商行","92370112MA7GT4K19R","徐州市淮海消防器材有限公司邳州分公司","2024-01-20//","MFZ/ABC4","/","合格","山东腾翔产品质量检测有限公司"]
["4","手提式干粉灭火器","流通领域","济南民安消防器材有限公司","91370103684652287G","山东龙成消防科技股份有限公司","2024-03//","MFZ/ABC2型","薪薪","合格","山东腾翔产品质量检测有限公司"]
["5","2Kg手提式干粉灭火器","流通领域","济南市中龙安消防器材经销处","92370103MA3F29HXX7","山东龙成消防科技股份有限公司","2024-02//","MFZ/ABC2型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[6,"4kg手提式干粉灭火器","流通领域","历城区鲁消消防器材经营部","92370112MA3LHF4Y9X","山东龙成消防科技股份有限公司","2024-02-26//","MFZ/ABC4A型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[7,"手提式干粉灭火器","流通领域","山东兴晨消防器材有限公司","91370105MA3RM7AE41","江苏聚启胜消防科技有限公司","2024-02-23//","MFZ/ABC4","图形+字母","合格","山东腾翔产品质量检测有限公司"]
[8,"手提式水基型灭火器","流通领域","山东居安特消防科技有限公司","913701053070782324","山东镒安东霖防火设备有限公司","202310//","MSZ/2B-T","YUE  YANG","合格","山东腾翔产品质量检测有限公司"]
[9,"灭火器","流通领域","山东群安消防设备有限公司","91370112MA7LH0X959","山东龙成消防科技股份有限公司","202311//","MFZ/ABC8A型  4A  144B  C  E","薪薪","合格","山东腾翔产品质量检测有限公司"]
[10,"手提式灭火器","流通领域","天桥区海申消防器材经销处","92370105MA3LAF533T","山东龙成消防科技股份有限公司","202311//","MFZ/ABC4型  2A 55B C E","薪薪","合格","山东腾翔产品质量检测有限公司"]
[11,"手提式干粉灭火器","流通领域","济南和利时商贸有限公司","91370105MA3N97M793","南阳市荣安消防器材有限公司","2023-10//","MFZ/ABC5","/","合格","山东腾翔产品质量检测有限公司"]
[12,"手提式干粉灭火器","流通领域","山东群安消防设备有限公司","91370112MA7LH0X959","山东龙成消防科技股份有限公司","2023-11-01//","MFZ/ABC4型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[13,"手提式干粉灭火器","流通领域","济南中苏消防设备有限公司第一分公司","91370105MA3PBMJM6E","济俊消防科技有限公司","2023-10-12//","MFZ/ABC4","济俊","合格","山东腾翔产品质量检测有限公司"]
[14,"手提式干粉灭火器","流通领域","章丘市明水顺鑫消防器材经营部","92370181MA3LGYHE4A","山东鼎梁消防科技有限公司","2053-10-30//","MFZ/ABC4","鼎梁","合格","山东腾翔产品质量检测有限公司"]
[15,"手提式干粉灭火器","流通领域","济南市莱芜高新区海泉消防器材经销中心","92371200MA3DD9KR8K","山东龙成消防科技股份有限公司","2023-09-18//","MFZ/ABC4A型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[16,"灭火器","流通领域","济南市莱芜区晨钰消防器材经营部","92371202MA3F3WT47G","山东龙成消防科技股份有限公司","202311//","MFZ/ABC4型  2A  55B  CE","薪薪","合格","山东腾翔产品质量检测有限公司"]
[17,"手提式干粉灭火器","流通领域","济南市历城区壹次心消防器材经营部","92370112MACF8CQH3Y","山东龙成消防科技股份有限公司","2023-11//","MFZ/ABC4A型 2A55BCE 4KG","图形+薪薪","合格","山东腾翔产品质量检测有限公司"]
[18,"手提式干粉灭火器","流通领域","济南市莱芜区鲁中劳保用品商城","92370116MA3RH7GB0F","山东龙成消防科技股份有限公司","2023-11//","MFZ/ABC4a型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[19,"手提式干粉灭火器","流通领域","高新开发区舜华魁鑫消防器材商行","92370100MA3LG6YYXA","山东龙成消防科技股份有限公司","2023-10//","4kg  2A55BCE","图形+薪薪","合格","山东腾翔产品质量检测有限公司"]
[20,"手提式水基型灭火器","流通领域","高新开发区舜华魁鑫消防器材商行","92370100MA3LG6YYXA","河南省升龙消防科技有限公司","2023-11//","MSC2/W","/","合格","山东腾翔产品质量检测有限公司"]
[21,"手提式二氧化碳灭火器","流通领域","济阳县舜鑫消防器材销售中心","92370125MA3D72AH04","徐州市淮海消防器材有限公司邳州分公司","2023-8-24//","MT/2型","淮海","合格","山东腾翔产品质量检测有限公司"]
[22,"手提式干粉灭火器","流通领域","商河县华尔泰消防器材经营部","92370126MA3LGGCX93","山东龙成消防科技股份有限公司","2023.5.15//","MFZ/ABC1型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[23,"手提式干粉灭火器","流通领域","商河晟泽消防器材销售处","92370126MA7LBFNC4M","江苏聚启胜消防科技有限公司","2023.3.15//","MFZ/ABC4","JANGSHUI","合格","山东腾翔产品质量检测有限公司"]
[24,"手提式干粉灭火器","流通领域","济南市天桥区静鑫消防器材经销处","92370105MA3FEWJ008","山东龙成消防科技股份有限公司","2023-09//","MFZ/ABC4A型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[25,"手提式干粉灭火器","流通领域","济南市厚安商贸有限公司","91371202493581914D","山东龙成消防科技股份有限公司","2023-11-05//","MFZ/ABC4A型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[26,"手提式干粉灭火器","流通领域","历城区鲁消消防器材经营部","92370112MA3LHF4Y9X","山东龙成消防科技股份有限公司","2023-11//","MFZ/ABC4A型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[27,"手提式干粉灭火器","流通领域","莱芜市莱城区域雪消防器材经营维修中心","92371202MA3FJNAU1K","青岛楼山消防器材厂有限公司","2021-12-22//","MFZ/ABC4","龙雹","合格","山东腾翔产品质量检测有限公司"]
[28,"手提式干粉灭火器","流通领域","莱芜市莱城区域雪消防器材经营维修中心","92371202MA3FJNAU1K","山东龙成消防科技股份有限公司","2023-11-01//","MFZ/ABC1型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[29,"灭火器","流通领域","章丘区百安商贸中心","92370181MABTPYNW00","山东龙成消防科技股份有限公司","202310//","MFZ/ABC1型  1A21BCE","薪薪","合格","山东腾翔产品质量检测有限公司"]
[30,"灭火器","流通领域","章丘市汇海源商贸有限公司","91370181306882923T","山东龙成消防科技股份有限公司","202207//","MFZ/ABC型  2A34BCE","薪薪","合格","山东腾翔产品质量检测有限公司"]
[31,"手提式灭火器","流通领域","章丘市鸿安消防器材经营部","92370181MA3DGFNC7F","河南芳辉消防安全应急装备有限公司","///","MFZ/ABC型","水龙珠","合格","山东腾翔产品质量检测有限公司"]
[32,"4KG手提式干粉灭火器","流通领域","山东强力消防科技有限公司","91370112163081984D","山东龙成消防科技股份有限公司","2023-11//","4KG  2A 55B  CE","图形+薪薪","合格","山东腾翔产品质量检测有限公司"]
[33,"手提式干粉灭火器","流通领域","济南龙科消防技术有限公司","91370124MA3PD7QG1N","山东龙成消防科技股份有限公司","2023-10-19//","MFZ/ABC4A型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[34,"手提式干粉灭火器","流通领域","平阴县泰合消防器材经营部","92370124MA3LEDNU5B","山东龙成消防科技股份有限公司","2023-11-05//","MFZ/ABC4A型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[35,"手提式干粉灭火器","流通领域","山东三盾消防设备有限公司","91370125MA3TC4MN3T","山东龙成消防科技股份有限公司","2023.9.1//","MFZ/ABC 3型","薪薪","合格","山东腾翔产品质量检测有限公司"]
[36,"手提式干粉灭火器","流通领域","济阳区中振消防器材店","92370125MA3RUQT496","徐州市淮海消防器材有限公司荆山路分公司","2023-2-9//","MFCZ/ABC 1型","淮海","合格","山东腾翔产品质量检测有限公司"]
[null,"以下空白"]