{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":7,"n_cols":12,"rows_kept":7,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2024年手提式灭火器产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
[1,"手提式干粉灭火器","生产领域","济南齐泽消防科技有限公司","91370125MACFWXCG4G","济南齐泽消防科技有限公司","2024年8月/-","MFZ/ABC8","齐泽","不合格","质量(灭火剂充装总量误差)","山东省产品质量检验研究院"]
[2,"手提式干粉灭火器","流通领域","槐荫恒立消防器材店（个体工商户）","92370104MAD3L1983J","任丘市华消消防设备有限公司","2024年7月/-","MFZ/ABC4","华消","不合格","爆破试验（筒体容积膨胀率、筒体爆破口情况）","山东省产品质量检验研究院"]
[3,"手提式干粉灭火器","流通领域","天桥区万和消防器材经营部","92370105MA3F767X52","连云港凯瑞消防器材有限公司","2024年3月/-","MFZ/ABC4","/","不合格","灭火剂和驱动气体（干粉灭火剂）-第一主要组分含量；爆破试验(筒体爆破压力)","山东省产品质量检验研究院"]
[4,"手提式干粉灭火器","流通领域","莱芜市莱城区腾迅物资经营部","92371202MA3FKFWE4T","山东沂盾消防科技有限公司","2024年5月/-","MFZ/ABC4","图文商标","不合格","质量(灭火剂充装总量误差)","山东省产品质量检验研究院"]