{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":8,"n_cols":12,"rows_kept":8,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2023年可燃气体探测器产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
["1","可燃气体探测器","流通领域","济南市莱芜区振华液化气站","92371202MA3FHXDX1H","深圳市立鼎丰科技有限公司","2022.10","JY-LDF-311A","金盛安","不合格","报警动作值\n方位\n跌落试验","山东腾翔产品质量检测有限公司"]
[2,"燃气报警器","流通领域","章丘区百安商贸中心","92370181MABTPYNW00","深圳市欧维亚电子科技有限公司赤水分公司","2021.03.06","OWY-GD-701","/","不合格","报警动作值\n方位","山东腾翔产品质量检测有限公司"]
[3,"可燃气体探测器","流通领域","章丘市明水顺鑫消防器材经营部","92370181MA3LGYHE4A","广东江郎烽光电科技有限公司","2022.06","               JT-JLF-001","吾安","不合格","报警动作值、方位、高温（运行）试验、跌落试验","山东腾翔产品质量检测有限公司"]
[4,"家用可燃气体探测器","流通领域","济南市章丘区煤气公司","91370181163441759P","东莞市七德电子科技有限公司","2023.06.24","JY-QD-841","/","不合格","报警动作值\n方位\n跌落试验","山东腾翔产品质量检测有限公司"]
[null,"以下空白"]