{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":6,"n_cols":12,"rows_kept":6,"cut":false,"hidden":false,"merged":[[0,0,0,11],[1,0,1,11]],"flags":["formulas_cached_only"]}
["附件1"]
["2024年过滤式消防自救呼吸器产品质量市级监督抽查不合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","承检单位"]
[1,"过滤式消防自救呼吸器","流通领域","商河县华尔泰消防器材经营部","92370126MA3LGGCX93","广州益安消防科技有限公司","2024年03月/-","TZL30A","益安消防","不合格","抗机械碰撞及环境变化性能-一氧化碳防护\n性能","山东省产品质量检验研究院"]
[2,"过滤式消防自救呼吸器","流通领域","商河县润安消防器材经营部","92370126MA3NWJY228","唐山普源消防设备有限公司","2024年2月/-","TZL 30","普源","不合格","抗机械碰撞及环境变化性能-一氧化碳防护\n性能","山东省产品质量检验研究院"]
[3,"过滤式消防自救呼吸器","流通领域","济南奎君商贸有限公司","91370105MA3FCMN329","广东唐安消防科技有限公司","2024年3月/240301","TZL30A","唐安","不合格","抗机械碰撞及环境变化性能-一氧化碳防护\n性能","山东省产品质量检验研究院"]