{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["监督检验报告信息"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":10,"n_cols":11,"rows_kept":10,"cut":false,"hidden":false,"merged":[[0,0,0,10],[1,0,1,10]],"flags":["formulas_cached_only"]}
["附件1"]
["2024年燃气紧急切断阀产品质量市级监督抽查合格情况汇总表"]
["序号","产品名称","抽查领域","企业名称","统一社会信用代码","标称生产企业名称","生产日期或批号","规格型号","商标","抽查结果","承检单位"]
["1","电磁式燃气紧急切断阀","电商领域","济南金友利燃气设备有限责任公司","91370105553702707M","射洪迅特波电子科技有限公司","2024.07/-","DRQF-DN15-0.1/KTL","/","合格","山东省产品质量检验研究院"]
["2","电磁式燃气紧急切断阀","电商领域","济南金友利燃气设备有限责任公司","91370105553702707M","射洪迅特波电子科技有限公司","2024.07/-","DRQF-DN15-0.1/KTL","/","合格","山东省产品质量检验研究院"]
["3","电磁式燃气紧急切断阀","电商领域","济南昌盛达电子科技有限公司","91370112MA3QQNW04X","重庆耐仕阀门有限公司","//-","DRQF-15","/","合格","山东省产品质量检验研究院"]
["4","电磁式燃气紧急切断阀","流通领域","山东港华燃气集团有限公司","91370100755410155Y","欧好光电控制技术（上海）股份有限公司","2024年06月28日/-","DRQF-15-0.1/KTL/9AB0","/","合格","山东省产品质量检验研究院"]
["5","电磁式燃气紧急切断阀","生产领域","济南本安科技发展有限公司","913701006722863472","济南本安科技发展有限公司","2024年2月29日/-","DRQF-15-0.1/KTL（BenAn-DN15）","/","合格","山东省产品质量检验研究院"]
["6","电磁式燃气紧急切断阀","生产领域","济南市大秦机电设备有限公司","91370113720705471F","济南市大秦机电设备有限公司","2024-05-16/-","DQ15AL","/","合格","山东省产品质量检验研究院"]
["7","电磁式燃气紧急切断阀","生产领域","济南蓝信电子设备有限公司","91370113778447292T","济南蓝信电子设备有限公司","2024.06.03/-","DRQF-15-0.1/KTL-C","/","合格","山东省产品质量检验研究院"]